**RECONSTITUTION AND UNITS/ VOLUME CHEAT SHEET***for Botox, Xeomin and Dysport*

We are using 0.3 ml or 0.5 ml Comfortox syringes with a 31 gauge needle already attached. With both syringes, these unit to volume measurements apply when reconstituted like this:

When a 100 unit bottle of Botox or Xeomin is diluted with 2.5 ml of bacteriostatic preserved sterile saline:

When a 50 unit bottle of Botox or Xeomin is diluted with 1.25 ml of bacteriostatic preserved sterile saline:

|  |  |  |  |
| --- | --- | --- | --- |
| Hash Mark on Comfortox Syringe | Botox Units | Xeomin Units | Dysport Units |
| 0.025 | 1 | 1 | 2.5 |
| 0.05 | 2 | 2 | 5 |
| 0.075 | 3 | 3 | 7.5 |
| 0.1 | 4 | 4 | 10 |
| 0.15 | 6 | 6 | 15 |
| 0.2 | 8 | 8 | 20 |
| 0.25 | 10 | 10 | 25 |
| 0.3 | 12 | 12 | 30 |
| 0.35 | 14 | 14 | 35 |
| 0.4 | 16 | 16 | 40 |
| 0.45 | 18 | 18 | 45 |
| 0.50 | 20 | 20 | 50 |

When a 300 unit bottle of Dysport is diluted with 3 ml of bacteriostatic preserved sterile saline:

The above dilutions will result in the following reconstitution: